# การวิเคราะห์การใช้ไฟฟ้า

รายงานนี้ประกอบด้วยการวิเคราะห์พฤติกรรมการใช้ไฟฟ้าและการติดตั้งโซล่าเซลล์.

## Images from Result

Image: anual_load.png

Image: average_load_every_day.png

Image: average_weekday_weekend.png

Image: LoadVariation.png

Image: Load_and_PV(1,000_kWp)_10_October.png

Image: Load_and_PV(1,000_kWp)_11_November.png

Image: Load_and_PV(1,000_kWp)_12_December.png

Image: Load_and_PV(1,000_kWp)_1_January.png

Image: Load_and_PV(1,000_kWp)_2_February.png

Image: Load_and_PV(1,000_kWp)_3_March.png

Image: Load_and_PV(1,000_kWp)_4_April.png

Image: Load_and_PV(1,000_kWp)_5_May.png

Image: Load_and_PV(1,000_kWp)_6_June.png

Image: Load_and_PV(1,000_kWp)_7_July.png

Image: Load_and_PV(1,000_kWp)_8_August.png

Image: Load_and_PV(1,000_kWp)_9_September.png

Image: Load_and_PV(100_kWp)_10_October.png

Image: Load_and_PV(100_kWp)_11_November.png

Image: Load_and_PV(100_kWp)_12_December.png

Image: Load_and_PV(100_kWp)_1_January.png

Image: Load_and_PV(100_kWp)_2_February.png

Image: Load_and_PV(100_kWp)_3_March.png

Image: Load_and_PV(100_kWp)_4_April.png

Image: Load_and_PV(100_kWp)_5_May.png

Image: Load_and_PV(100_kWp)_6_June.png

Image: Load_and_PV(100_kWp)_7_July.png

Image: Load_and_PV(100_kWp)_8_August.png

Image: Load_and_PV(100_kWp)_9_September.png

Image: Load_and_PV(500_kWp)_10_October.png

Image: Load_and_PV(500_kWp)_11_November.png

Image: Load_and_PV(500_kWp)_12_December.png

Image: Load_and_PV(500_kWp)_1_January.png

Image: Load_and_PV(500_kWp)_2_February.png

Image: Load_and_PV(500_kWp)_3_March.png

Image: Load_and_PV(500_kWp)_4_April.png

Image: Load_and_PV(500_kWp)_5_May.png

Image: Load_and_PV(500_kWp)_6_June.png

Image: Load_and_PV(500_kWp)_7_July.png

Image: Load_and_PV(500_kWp)_8_August.png

Image: Load_and_PV(500_kWp)_9_September.png

Image: load_distribution.png

Image: load_duration_curve_all_days.png

Image: load_duration_curve_all_months.png

Image: load_duration_curve_weekdays_weekends.png

Image: load_pv(1,000_kWp).png

Image: load_pv(100_kWp).png

Image: load_pv(500_kWp).png

Image: peak_day.png

Image: pv curtailed 60 percentile 1,000 kWp.png

Image: pv curtailed 60 percentile 100 kWp.png

Image: pv curtailed 60 percentile 500 kWp.png

Image: Seasonal.png

Image: Seasonal_comparison.png

Image: Seasonal_specific_1.png

Image: Seasonal_specific_2.png

Image: Seasonal_specific_3.png

Image: Seasonal_specific_4.png

Image: Seasonal_specific_5.png

Energy consumption -- Load (kWh)
1 January: 0 kWh, Load Factor: nan%
2 February: 0 kWh, Load Factor: nan%
3 March: 638,145 kWh, Load Factor: 29.6%
4 April: 0 kWh, Load Factor: nan%
5 May: 0 kWh, Load Factor: nan%
6 June: 0 kWh, Load Factor: nan%
7 July: 0 kWh, Load Factor: nan%
8 August: 0 kWh, Load Factor: nan%
9 September: 0 kWh, Load Factor: nan%
10 October: 0 kWh, Load Factor: nan%
11 November: 0 kWh, Load Factor: nan%
12 December: 0 kWh, Load Factor: nan%



Average load factor: nan %



Energy of On Peak Data: 183,165.00 kWh
Energy of Off Peak Data: 224,115.00 kWh
Energy of holiday Data: 230,865.00 kWh
Total Energy: 638,145.00 kWh
Sum of all Data: 638,145.00 kWh
Sum of demand_charge: 2,901.00 kW

price_on_peak: 766,344.04 THB
price_off_peak: 1,184,631.43 THB
price_demand_charge: 385,629.93 THB
Total Electricity Base Price: 2,340,352.28 THB
	ignore FT & vat


On-peak days: 11.4
Off-peak days: 9.6
Holiday days: 10.0
  365 check -> 31.0




PV Install_cap: 100.00 kW
Energy of pv_produce: 13,349.30 kWh/year (Verify with PVSyst)
  Monthly average PV energy production (kWh/month): nan,nan,18,nan,nan,nan,nan,nan,nan,nan,nan,nan
Energy of pv_produce: 133.49 kWh/kWp/year
Energy of pv_produce: 0.37 kWh/kWp/day
Capacity Factor: 1.52 %
Energy of pv_curtailed: 4,356.36 kWh  (32.63 %)
Energy of pv_serve_load: 8,992.94 kWh
PR ratio (PV): 0.08
PR ratio (Load): 0.05
  pv_serve_load -- On Peak: 5,006.12 kWh
  pv_serve_load -- Off Peak: 555.62 kWh
  pv_serve_load -- holiday: 3,431.20 kWh
  CO2 Emission Reduction: 4,065 kg-CO2
Total Base Price: 43,740.10 THB
	ignore FT & vat


PV < load @9.00: 18 days
PV > load (in that day): 17 days
Cycle/year 369 cycles
5000 Cycle = 13.6 year
max battery from PV curtailed: 374.84 kWh
  -- suggest Battery Capacity: 229 kWh


  -- installed Battery       : 900 kWh
  -- suggest Battery Saving  : 30,124 THB  (335 THB/kWh/10years)
                             : 3,921 kWh (Curtail 32.63 % -> 3.26 %)

  -- installed Battery       : 500 kWh
  -- suggest Battery Saving  : 24,609 THB  (492 THB/kWh/10years)
                             : 3,908 kWh (Curtail 32.63 % -> 3.36 %)

  -- installed Battery       : 400 kWh
  -- suggest Battery Saving  : 22,096 THB  (552 THB/kWh/10years)
                             : 3,676 kWh (Curtail 32.63 % -> 5.10 %)

  -- installed Battery       : 300 kWh
  -- suggest Battery Saving  : 18,395 THB  (613 THB/kWh/10years)
                             : 3,171 kWh (Curtail 32.63 % -> 8.88 %)

  -- installed Battery       : 250 kWh
  -- suggest Battery Saving  : 15,980 THB  (639 THB/kWh/10years)
                             : 2,788 kWh (Curtail 32.63 % -> 11.75 %)

  -- installed Battery       : 200 kWh
  -- suggest Battery Saving  : 13,422 THB  (671 THB/kWh/10years)
                             : 2,370 kWh (Curtail 32.63 % -> 14.88 %)

  -- installed Battery       : 150 kWh
  -- suggest Battery Saving  : 10,494 THB  (700 THB/kWh/10years)
                             : 1,862 kWh (Curtail 32.63 % -> 18.68 %)

  -- installed Battery       : 100 kWh
  -- suggest Battery Saving  : 7,434 THB  (743 THB/kWh/10years)
                             : 1,322 kWh (Curtail 32.63 % -> 22.73 %)





PV Install_cap: 1000.00 kW
Energy of pv_produce: 133,493.01 kWh/year (Verify with PVSyst)
  Monthly average PV energy production (kWh/month): nan,nan,179,nan,nan,nan,nan,nan,nan,nan,nan,nan
Energy of pv_produce: 133.49 kWh/kWp/year
Energy of pv_produce: 0.37 kWh/kWp/day
Capacity Factor: 1.52 %
Energy of pv_curtailed: 73,913.92 kWh  (55.37 %)
Energy of pv_serve_load: 59,579.10 kWh
PR ratio (PV): 0.08
PR ratio (Load): 0.04
  pv_serve_load -- On Peak: 31,675.78 kWh
  pv_serve_load -- Off Peak: 4,023.42 kWh
  pv_serve_load -- holiday: 23,879.90 kWh
  CO2 Emission Reduction: 26,930 kg-CO2
Total Base Price: 294,238.88 THB
	ignore FT & vat


PV < load @9.00: 10 days
PV > load (in that day): 21 days
Cycle/year 365 cycles
5000 Cycle = 13.7 year
max battery from PV curtailed: 4,460.38 kWh
  -- suggest Battery Capacity: 3,711 kWh


  -- installed Battery       : 900 kWh
  -- suggest Battery Saving  : 64,027 THB  (711 THB/kWh/10years)
                             : 12,763 kWh (Curtail 55.37 % -> 45.81 %)

  -- installed Battery       : 500 kWh
  -- suggest Battery Saving  : 35,804 THB  (716 THB/kWh/10years)
                             : 7,148 kWh (Curtail 55.37 % -> 50.01 %)

  -- installed Battery       : 400 kWh
  -- suggest Battery Saving  : 28,643 THB  (716 THB/kWh/10years)
                             : 5,718 kWh (Curtail 55.37 % -> 51.09 %)

  -- installed Battery       : 300 kWh
  -- suggest Battery Saving  : 21,482 THB  (716 THB/kWh/10years)
                             : 4,289 kWh (Curtail 55.37 % -> 52.16 %)

  -- installed Battery       : 250 kWh
  -- suggest Battery Saving  : 17,902 THB  (716 THB/kWh/10years)
                             : 3,574 kWh (Curtail 55.37 % -> 52.69 %)

  -- installed Battery       : 200 kWh
  -- suggest Battery Saving  : 14,322 THB  (716 THB/kWh/10years)
                             : 2,859 kWh (Curtail 55.37 % -> 53.23 %)

  -- installed Battery       : 150 kWh
  -- suggest Battery Saving  : 10,741 THB  (716 THB/kWh/10years)
                             : 2,144 kWh (Curtail 55.37 % -> 53.76 %)

  -- installed Battery       : 100 kWh
  -- suggest Battery Saving  : 7,161 THB  (716 THB/kWh/10years)
                             : 1,430 kWh (Curtail 55.37 % -> 54.30 %)





PV Install_cap: 500.00 kW
Energy of pv_produce: 66,746.51 kWh/year (Verify with PVSyst)
  Monthly average PV energy production (kWh/month): nan,nan,90,nan,nan,nan,nan,nan,nan,nan,nan,nan
Energy of pv_produce: 133.49 kWh/kWp/year
Energy of pv_produce: 0.37 kWh/kWp/day
Capacity Factor: 1.52 %
Energy of pv_curtailed: 32,615.57 kWh  (48.86 %)
Energy of pv_serve_load: 34,130.93 kWh
PR ratio (PV): 0.08
PR ratio (Load): 0.04
  pv_serve_load -- On Peak: 18,247.78 kWh
  pv_serve_load -- Off Peak: 2,340.66 kWh
  pv_serve_load -- holiday: 13,542.50 kWh
  CO2 Emission Reduction: 15,427 kg-CO2
Total Base Price: 164,104.65 THB
	ignore FT & vat


PV < load @9.00: 13 days
PV > load (in that day): 20 days
Cycle/year 367 cycles
5000 Cycle = 13.6 year
max battery from PV curtailed: 2,142.82 kWh
  -- suggest Battery Capacity: 1,692 kWh


  -- installed Battery       : 900 kWh
  -- suggest Battery Saving  : 63,447 THB  (705 THB/kWh/10years)
                             : 12,519 kWh (Curtail 48.86 % -> 30.11 %)

  -- installed Battery       : 500 kWh
  -- suggest Battery Saving  : 35,875 THB  (718 THB/kWh/10years)
                             : 7,063 kWh (Curtail 48.86 % -> 38.28 %)

  -- installed Battery       : 400 kWh
  -- suggest Battery Saving  : 28,981 THB  (725 THB/kWh/10years)
                             : 5,698 kWh (Curtail 48.86 % -> 40.33 %)

  -- installed Battery       : 300 kWh
  -- suggest Battery Saving  : 21,903 THB  (730 THB/kWh/10years)
                             : 4,289 kWh (Curtail 48.86 % -> 42.44 %)

  -- installed Battery       : 250 kWh
  -- suggest Battery Saving  : 18,322 THB  (733 THB/kWh/10years)
                             : 3,574 kWh (Curtail 48.86 % -> 43.51 %)

  -- installed Battery       : 200 kWh
  -- suggest Battery Saving  : 14,687 THB  (734 THB/kWh/10years)
                             : 2,859 kWh (Curtail 48.86 % -> 44.58 %)

  -- installed Battery       : 150 kWh
  -- suggest Battery Saving  : 11,041 THB  (736 THB/kWh/10years)
                             : 2,144 kWh (Curtail 48.86 % -> 45.65 %)

  -- installed Battery       : 100 kWh
  -- suggest Battery Saving  : 7,396 THB  (740 THB/kWh/10years)
                             : 1,430 kWh (Curtail 48.86 % -> 46.72 %)

## Images from EPC

Image: Annual Revenue and O&M Cost 100 kW.png

Assumption EPC:
Tariff Rate Average (with VAT): 3.80000 THB/units

Inputs Configuration:
Project Time (Years): 25 years
Cost per kW: 30000.0 THB/kW
Margin: 10.0 %
Sale Price per kW: 33000.00 THB/kW
Solar Degradation First Year: 2.0 %
Solar Degradation After First Year: 0.55 %
Inverter Replacement Cost: 4200 THB/kW
O&M Percentage: 2.5 %
O&M Escalation Rate: 0.0 %
O&M Starts at Year: 3

EGAT Operation Cost:
General Work Cost: 127000 THB
Distance from EGAT HQ: 160 km
EGAT Operation Cost: 131320 THB

## Images from GSA

Image: Electricity Cost Comparison 1,000kWp_15.0_15yr.png

Image: Electricity Cost Comparison 100kWp_15.0_15yr.png

Image: Electricity Cost Comparison 500kWp_15.0_15yr.png

Image: Table image 1,000 kWp 15.0_15 yr.png

Image: Table image 100 kWp 15.0_15 yr.png

Image: Table image 500 kWp 15.0_15 yr.png

Assumption GSA:
Tariff Rate Average (with VAT): 3.80000 THB/units

Inputs Configuration:
Project Time (Years): 25 years
Cost per kW: 30000.0 THB/kW
Margin: 10.0 %
Sale Price per kW: 33000.00 THB/kW
Solar Degradation First Year: 2.0 %
Solar Degradation After First Year: 0.55 %
Inverter Replacement Cost: 4200 THB/kW
O&M Percentage: 2.5 %
O&M Escalation Rate: 0.0 %
O&M Starts at Year: 3

tariff discount: 15.0 % (include FT, exclude VAT)
contract year = 15 year

EGAT Operation Cost:
General Work Cost: 127000 THB
Distance from EGAT HQ: 160 km
EGAT Operation Cost: 131320 THB